{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["一审"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"一审","index":0,"n_rows":31,"n_cols":4,"rows_kept":31,"merged":[[0,0,0,3]],"flags":["formulas_cached_only"]}
["2022年山东英才学院寒假改造维修项目统计表"]
["序号","项目\n地点","项目名称","区域范围"]
[1,"北校区","人行道大理石地面整平","校区主干道两边路边石"]
[2,"北校区","图书馆卫生间升级改造","图书馆二层4个；\n"]
[3,"北校区","消防安全隐患整改","详见附件3《山东英才学院南校消防维修明细》"]
[4,"北校区","实训南楼外墙瓷砖维修","实训楼外墙"]
[5,"南校区","办公楼卫生间升级改造","办公楼一至二层8个卫生间；\n"]
[6,"南校区","学生公寓卫生间墙砖维修","20#公寓174个房间"]
[7,"南校区","1#学生公寓宿舍\n线路改造","1#学生公寓所有房间"]
[8,"南校区","消防安全隐患整改","详见附件2《山东英才学院南校消防维修明细》"]
[9,"南北校区","学生宿舍\n无线烟感报警器安装","北校区1#—7#学生公寓楼（1410个宿舍），南校区20#—22#公寓楼（480个宿舍）"]
[10,"南校区","楼顶防水维修","信工楼、外国语楼、琴房、学前楼、技校办公楼汽车实训楼、图书馆楼、办公楼东侧、高压配电室2个；"]
[11,"南校区","楼顶防水维修（拆除隔热板）及外墙防水维修","1、8、3、4、5、11号公寓，医学院"]
[12,"南校区","门窗改造维修","建工实训楼、物流实训楼、汽车实训楼、办公楼"]
[13,"南校区","污水管道维修改造","校外污水管道"]
[14,"南校区","吊顶维修","学前一层、办公楼五层"]
[15,"南校区","隐形防护网","校内15栋公寓"]
[16,"南校区","音乐舞蹈学院北平房改造","音乐舞蹈学院北平房"]
[17,"南校区","电路改造","B楼一层西配电室、外国语走廊"]
[18,"南校区","大学生活动中心办公室及卫生间改造","大学生活动中心"]
[19,"南校区","供水阀门更换","全校区域"]
[20,"南校区","图书馆维修改造及窗帘清洗新增","图书馆"]
[21,"南校区","技校学生宿舍7栋宿舍电磁锁加装","技校学生宿舍2#、3#、4#\n9#、10#、11#、12#"]
[22,"北校区","楼顶防水维修","大活舞台南侧、图书馆西南角、东西服务楼、南门2个值班室"]
[23,"北校区","电路设备维修","实训楼电缆、艺术消防电缆、教职工1号公寓2层智能电表维修更换"]
[24,"北校区","门窗玻璃地板维修更换","7个公寓部分卫生间门，大活、教学楼、2/5/6号公寓防火门，艺术学院楼门框维修，图书馆、艺术学院、教学楼西侧东侧楼梯间玻璃，艺术实训静电地板更换"]
[25,"北校区","吊顶墙体维修","c404办公室、艺术学院走廊、图书馆走廊吊顶，教学楼北楼、实训楼c307、c308、c309北墙部分，实训楼中间大厅北侧1-5层、南门2个值班室墙体粉刷"]
[26,"北校区","水管道、水池维修清理及阀门更换","校园内北侧污水管道，校园内墙体下水管道，北校区蓄水池，校区内楼宇供水阀门"]
[27,"北校区","外带垃圾池周边平整","学生公寓3/4/5/6/7号公寓外垃圾池"]
[28,"北校区","中水站在线监测安装","中水站"]
[29,"北校区","北校区图书馆及学生宿舍窗帘更换维修","图书馆及学生宿舍"]