{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":59,"n_cols":7,"rows_kept":59,"merged":[[0,0,0,6],[2,0,17,0],[2,1,17,1],[18,1,19,1],[23,0,23,6],[25,0,38,0],[25,1,38,1],[43,0,43,6],[45,0,53,0],[45,1,53,1],[54,0,55,0],[54,1,55,1]]}
["山东英才学院北校区（烹饪学院）"]
["序号","消防设施","项目","品牌型号参数","单位","数量","维修/换件/新增"]
[1,"火灾自动报警系统\n","主机回路板","报警厂家配套","件",1,"换件"]
[null,null,"烟感","报警厂家配套","只",210,"维修"]
[null,null,"烟感","报警厂家配套","只",32,"换件"]
[null,null,"手报","报警厂家配套","只",22,"维修"]
[null,null,"消火栓按钮","报警厂家配套","只",29,"维修"]
[null,null,"火灾显示盘","报警厂家配套","只",3,"换件"]
[null,null,"广播模块","报警厂家配套","只",6,"维修"]
[null,null,"声光报警器","报警厂家配套","只",18,"维修"]
[null,null,"卷帘门模块","报警厂家配套","只",3,"维修"]
[null,null,"电话模块","报警厂家配套","只",2,"增加"]
[null,null,"输入输出模块","报警厂家配套","只",35,"换件"]
[null,null,"厂家编程","报警厂家配套","系统",1,"编程"]
[null,null,"电话线路检修","/","路",1,"维修"]
[null,null,"广播线路检修","/","路",1,"维修"]
[null,null,"回路线路检修","/","路",3,"维修"]
[null,null,"风机线路检修","/","路",1,"维修"]
[2,"防火卷帘门","门体机布维修","设备厂家配套","面",5,"维修"]
[3,null,"防火卷帘门控制箱","设备厂家配套","部",3,"换件"]
[4,"防火门顺序器","防火门顺序器增加","重型","件",25,"增加"]
[5,"应急疏散指示灯","应急疏散指示灯","220V（国标）","层",3,"维修 "]
[6,"合计"]
["山东英才学院北校区（餐厅）"]
["序号","消防设施","项目","品牌型号参数","单位","数量","维修/换件/新增"]
[1,"火灾自动报警系统\n","主机回路板","报警厂家配套","件",1,"换件"]
[null,null,"烟感","报警厂家配套","只",145,"维修"]
[null,null,"烟感","报警厂家配套","只",54,"换件"]
[null,null,"手报","报警厂家配套","只",26,"维修"]
[null,null,"消火栓按钮","报警厂家配套","只",10,"维修"]
[null,null,"广播模块","报警厂家配套","只",2,"换件"]
[null,null,"声光报警器","报警厂家配套","只",18,"维修"]
[null,null,"输入模块","报警厂家配套","只",10,"换件"]
[null,null,"输入输出模块","报警厂家配套","只",10,"换件"]
[null,null,"电话模块","报警厂家配套","只",2,"换件"]
[null,null,"厂家编程","报警厂家配套","系统",1,"编程"]
[null,null,"电话线路检修","/","路",1,"维修"]
[null,null,"广播线路检修","/","路",1,"维修"]
[null,null,"回路线路检修","/","路",2,"维修"]
[3,null,"防火卷帘门控制箱","设备厂家配套","部",3,"换件"]
[4,"防火门顺序器","防火门顺序器增加","重型","件",10,"增加"]
[5,"应急疏散指示灯","应急疏散指示灯","220V（国标）","层",2,"维修 "]
[6,"合计"]
["英才学院（七号公寓）"]
["序号","消防设施","项目","品牌型号参数","单位","数量","维修/换件/新增"]
[1,"火灾自动报警系统\n","烟感","报警厂家配套","只",{"$f":"49*6","v":294},"维修"]
[null,null,"烟感","报警厂家配套","只",13,"换件"]
[null,null,"手报","报警厂家配套","只",12,"维修"]
[null,null,"消火栓按钮","报警厂家配套","只",30,"维修"]
[null,null,"声光报警器","报警厂家配套","只",12,"维修"]
[null,null,"输入模块","报警厂家配套","只",3,"换件"]
[null,null,"输入输出模块","报警厂家配套","只",11,"换件"]
[null,null,"回路板","报警厂家配套","块",2,"换件"]
[null,null,"电缆","ZR-KVV16*1.5","米",859,"移机"]
[2,"防排烟系统","排烟机控制柜维修","适配","部",2,"维修"]
[null,null,"90°防火阀执行器","适配","部",2,"更换"]
[3,"防火门","顺序器","设备厂家配套","只",12,"新增"]
[4,"应急疏散指示灯","应急疏散指示灯","国标220v","层",6,"更换"]
[5,"合计"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}